## Slide 1: Photosynthesis and Chlorophyll Fluorescence: Principles, Regulation, and PAM Fluorometry

## Slide 2: Photosynthetic organisms
Samolov et al., Microorganisms, 2020
Algae and cyanobacteria
Higher plants

## Slide 3: Photosynthesis in (too) brief

## Slide 4: Light reaction
PhD Thesis Mammadov Gulmammad, 2015.
Energy gain and loss. Tom Michaels

## Slide 5: Chloroplast
https://en.wikiversity.org/wiki/Biophysics/Introduction/Chloroplast
Photo
Synthesis
Allen et al, The Journal of cell biology, 1988
GT: grana thylakoids ST: stromal thylakoids PM: plasma Mambrane PG: plastoglobuli
Notes: Thylakoid membrane, where the light reactions is gonna happen

## Slide 6: The photosynthetic system
Photo
Synthesis
lumen
stroma

## Slide 7: The basis of photosynthesis
Baker et al., Annu. Rev. Plant Biol., 2008
Non-Photochemical Quenching (NPQ)
Fluorescence
Photochemical Quenching
Dark-adapted
Light-adapted
fraction of oxidised quinone A

## Slide 8: Fluorescence from dark-adapted cells
Fluorescence signal proportional to
NPQ
Fluo
Photochemical Quenching
M
Dark-adapted

## Slide 9: Fluorescence from light-adapted cells
NPQ
Fluo
Photochemical Quenching
: variable fluorescence in light conditions
: quenched fluorescence in light conditions
Light-adapted

## Slide 10: Pulse Amplitude Modulation: demonstration
Absolute fluorescent signal is not required, relative changes are enough.
ML (or MP): Mesuring Light (or Pulse), very weak, modulated light used to measure fluorescence without significantly driving photosynthesis
AL: Actinic Light, continuous illumination driving photosynthesis and physiological adaptation.
SP (or SF): Saturating Pulse (or Flash), brief and extremely intense flash that temporarily closes all PSII reaction centres
Zuo et al., Plant-Environment Interactions, 2022
Demo on: Microscopy PAM

## Slide 11: Pulse Amplitude Modulation: fluorescence
Absolute fluorescent signal is not required, relative changes are enough.
ML (or MP): Mesuring Light (or Pulse), very weak, modulated light used to measure fluorescence without significantly driving photosynthesis
AL: Actinic Light, continuous illumination driving photosynthesis and physiological adaptation.
SP (or SF): Saturating Pulse (or Flash), brief and extremely intense flash that temporarily closes all PSII reaction centres
Zuo et al., Plant-Environment Interactions, 2022

## Slide 12: Pulse Amplitude Modulation: inside the machine
NPQ
Fluo
Photochemical Quenching
Dark-adapted
NPQ
Fluo
Photochemical Quenching
Light-adapted
Zuo et al., Plant-Environment Interactions, 2022

## Slide 13: Pulse Amplitude Modulation: inside the machine
NPQ
Fluo
Photochemical Quenching
Dark-adapted
NPQ
Fluo
Photochemical Quenching
Light-adapted
Zuo et al., Plant-Environment Interactions, 2022

## Slide 14: Protocol for quenching analysing
Baker et al., Annu. Rev. Plant Biol., 2008

## Slide 15: Response of photosystem II
Baker et al., Annu. Rev. Plant Biol., 2008

## Slide 16: Chlamydomonas reinhardtii
Chlamydomonas reinhardtii
Photosynthesis
Phototaxis
Swimming
The Science Magazine of the Max Planck Society, 2014
N. Farès, Thèse, 2025
5 µm
[klami] for intimists
Cilium

## Slide 17: Practical
Microscopy PAM
PhytoPAM ED
Q&A
Split in 2 groups
~1h30 with µPAM
~1h30 with phytoPAM